FAQ十：Construction conditions of PU Foam.

1) Application Temperature Range：+5℃～+35℃；

2)The ambient humidity is more than 45%RH;

3) The construction surface should be clean without grease or dust, it is possible to spray some water mist wet, but no water；

4) The adhesive surface shall not be teflon or silicone.